
[image: image1.wmf] 

 

 

 

ABI (UK) LIMITED

 

Swinemoor Lane, Beverley

 

East Yorkshire. HU17 0LJ

 

 

Tel: 01482 678000

 

Fax: 01482 887009

 

 

Email:warranty@abiuk.co.uk 

Website: www.abiuk.co.uk

 

 

 


Warranty Claim Form
	Date:
	12/05/11
	Model:
	ST. DAVID  32X12  2 BED

	Park:
	SURF BAY HOLIDAY PARK
GOLF LINKS ROAD

WESTWARD HO!: BIDEFORD: DEVON: EX39 1HD
	
	

	
	
	Serial No.


	1440747

	Telephone No:
	01237 471833
	
	

	
	
	Customer Name:
	ROBINSON

	Contact on Site:
	KIM & NIGEL BOTTOMLY
	Date of Sale to Customer:
	01/05/11

	Key Numbers:
	
	Plot Number:
	


	Location Codes:
	BA – Bathroom  MB – Master Bedroom  B2 – Bed 2  B3 – Bed 3  KI - Kitchen  UR – Utility Room  EN – En-suite 

ER - External/Roof  BR – Boiler room/Cupboard  LO – Lounge  TO – Toilet  DR – Dining Room  HW - Hallway


	Location 
	Full Description of Fault

	
	

	LO
	THE PDI REPORTS THAT THE FLOORS ARE SQUEAKY

	LO
	THE PDI REPORTS THAT THE DOORS ARE SQUEAKY

	BA
	THE PDI REPORTS THAT THE TOWEL RAIL IS TOO HOT

	KI
	THE PDI REPORTS THAT THE KITCHEN SINK DRAINING BOARD HAS A SCRATCH ON IT

	DR
	THE PDI REPORTS THAT THE GLASS LIGHTSHADE OVER THE TABLE DOESN’T HANG STRAIGHT (HOLE NOT CENTERED)

	EN
	THE PDI REPORTS THAT THE EN-SUITE DOOR FRAME NEEDS LIFTING AS THE DOOR CATCHES DO NOT LINE UP

	ER
	THE PDI REPORTS THAT THE MAIN DOOR HANDLES AND HINGES ARE SEVERLEY PITTED AND NEED REPLACING (BROWN ONES PLEASE)

	ER
	THE PDI REPORTS THAT 3 GUTTER BRACKETS ARE BROKEN (BROWN ONES) ON THE DOOR SIDE

	
	

	
	

	
	

	
	

	
	

	
	



