# Warranty Claim Form

| Date: | 13.04.12 | Model: | Connoisseur |
| --- | --- | --- | --- |
| Park: | Trevella |  |  |
|  |  | Serial No. | 1460294 |
| Telephone No: | 01637 830308 |  |  |
|  |  | Customer Name: |  |
| Contact on Site: | Rob | Date of Sale to Customer: | # 25.07.11 |
| Key Numbers: |  | Plot Number: | 45 |

| Location Codes: | BA – Bathroom MB – Master Bedroom B2 – Bed 2 B3 – Bed 3 KI - Kitchen UR – Utility Room EN – En-suite ER - External/Roof BR – Boiler room/Cupboard LO – Lounge TO – Toilet DR – Dining Room HW - Hallway |
| --- | --- |

| # Location | Full Description of Fault |
| --- | --- |
| BR | The customer called and advised thet they could not have the heating and the hot water on at the same time. |
|  | The customer has now called back to say they have NO hot water at all now. |
|  | Please can you advise me when the engineer willl be going as this is urgent. Many thanks Lorraine |