INVOICE C4/1652024

DATE:		9th May 2024

DETAILS:		Toilet assembly of van was in a poor state.
			Owner reported leak under the van

Plumber attended and discovered the fittings were not put together properly. Water had been leaking down the Filling Valve to the bottom fill, and down through the pipes onto the ground.

All parts stripped back and put back together, new filling valve ordered and fitted.

PRICE : 	£150.00 including parts, labour and VAT to be charged back to Swift