Mr Roger Miller 
1 Taps Close 
Exminster 
Exeter 
EX6 8AE

18 December 2013

Our Ref: quot- 1038

# Q U O T A T I O N

MAKE: 	Pemberton

MODEL: 2007

SERIAL NUMBER:

PITCH NUMBER: 187

OWNER / SITE: Harlyn Sands

Leak from pipe feeding into the shower has caused damage to the floor in the hallway, bathroom and bedroom.

Replace flooring where required in all three areas with V313 moisture resistant board

Replace Underfloor insulation as required

Replace 5x vinyl to vinyl strips

Replace bathroom wet room vinyl flooring

Fit new skirting

MATERIALS:				£599.35

LABOUR:				£2368.00

TRAVEL:				£303.60

CRATING AND CARRIAGE:		£20.00

Sub-total				£3290.95

VAT					£658.19

## GRAND TOTAL			£3949.14

Please note: the original wet room flooring is not available and the nearest alternative would be used.

The customer has requested that the floor boards be replaced with Paranna Pine floor boards, this has been looked into but it is not unless the whole floor is replaced, it would not work due to the difference

Mr Roger Miller 
1 Taps Close 
Exminster 
Exeter 
EX6 8AE

18 December 2013

Our Ref: quot- 1038

# Q U O T A T I O N

MAKE: 	Pemberton

MODEL: 2007

SERIAL NUMBER:

PITCH NUMBER: 187

OWNER / SITE: Harlyn Sands

I hereby authorise Surf Bay Leisure to carry out the repairs detailed in their quotation

## SIGNATURE-----------------------------------------------------------------------

DATE --------------------------------------------------------------------------------

### PLEASE SIGN AND RETURN AT YOUR EARLIEST CONVENIENCE

#### THANK YOU FOR YOUR CUSTOM