Jo-Ann Weaver

Customer Care Department

Willerby Holiday Homes

1251 Imperial House

Hull

HU9 5NA

12 December 2013

Our ref: WILL-3156

WILLERBY ASPEN

SERIAL NUMBER WB2646/010

SITED: Highlands End Caravan Park

Exterior Door:  Door looks really shabby, the colour has faded and is patching, deterioration around the joints see pic 1

Lounge front window:  left hand front bay window , the seal has failed causing a build up of condensation  between the two panes of the double glazed unit see pic 2

Large lounge window: no evidence of the seal having failed on this on the day we inspected it

Lounge window wooden decorative strips x2: These are  showing signs of delamination, the edges are peeling away from the wood see pic 3

Pull out bed: On inspection it was found that this  is  rusty around all the hinges

Kitchen area:  handles, ceiling light and glass cooker lid joint are showing signs of rust

Our engineer made a thorough examination of the holiday home and no evidence of any damp could be found, the holiday home has been well maintained and is immaculately looked after

Kindest Regards

Adrienne Barwell

Customer Care Manager